| 中文產品名稱及別名： | 2.5吋薄型LED崁燈(4W) |
| --- | --- |
| 英文產品名稱及別名： | 2.5 inch Slim LED Downlight (4W) |
| 產品型號： | ID-DL204W-DC12 |
| 中文產品說明： | vitaLED的LED Downlight具有高流明輸出,照射方向可調整, 簡單而精緻的設計適用於辦公室、會議室和住宅照明,我們提供一般消費者和商業專用, 變壓器外置型崁燈, 標準MR16 GU5.3插座, 安裝簡便。 無重影,優良配光曲線,無紫外線及紅外線 高亮度 鋁殼散熱佳 壽命超過三萬小時,省電80% 技術規格: 外觀尺吋(φ x H) Φ85 x 50mm(H) 輸出亮度 (流明值 及 照度值) 250lm , 310lux@1m 色溫CCT (K) 5300K / 3000K 演色指數(CRI) 80 輸出功率r (W) 4W 發光角度 30˚ 安裝孔徑 Ø65~70mm |
| 英文產品說明： | vitaLED’s LED downlight features high lumen output and adjustable light direction. The simple and exquisite design is suitable for office, conference room and residential lighting. We offer driver-outside model for consumer and commercial installation with standard MR16 GU5.3 socket. 1. No multi-shadow, good light distribution , no UV and IR, 2. High brightness, beyond traditional incandescent light 3. Aluminum housing 4. Life Span > 30,000hrs., power saving > 80% 5. RoHS compliant and meet CE 6. Technical Specification: Figuration Size(φ x H) Φ85 x 50mm(H) Typical Output (lm & Lux) 250lm , 310lux@1m CCT (K) 5300K / 3000K CRI 80 Power (W) & Power Factor 4W Angle 30˚ Installation Saw Hole Ø65~70mm |