| 中文產品名稱及別名： | 2.5吋薄型LED崁燈(6W) |
| --- | --- |
| 英文產品名稱及別名： | 2.5 inch Slim LED Downlight (6W) |
| 產品型號： | ID-DL206W-DC12 |
| 中文產品說明： | vitaLED的LED Downlight具有高流明輸出,照射方向可調整, 簡單而精緻的設計適用於辦公室、會議室和住宅照明,我們提供一般消費者和商業專用型變壓器外置崁燈, 具備標準MR16 GU5.3插座, 安裝簡便。 無重影,優良配光曲線,無紫外線及紅外線 高亮度 鋁殼散熱佳 壽命超過三萬小時,省電80% 技術規格: 外觀尺吋(φ x H) Φ85 x 50mm(H) 輸出亮度 (流明值 及 照度值) 300lm , 350lux@1m 色溫CCT (K) 5000K / 3000K 演色指數(CRI) 70 輸出功率(W) 6W 發光角度 30˚ (60˚ available) 安裝孔徑 Ø65~70mm |
| 英文產品說明： | vitaLED’s LED downlight features high lumen output and adjustable light direction. The simple and exquisite design is suitable for office, conference room and residential lighting. We offer driver-outside model for consumer and commercial installation with standard MR16 GU5.3 socket. 1. No multi-shadow, good light distribution , no UV and IR, 2. High brightness 3. Aluminum housing, excellent heat dissipation 4. Life Span > 30,000hrs., power saving > 80% 5. RoHS compliant and meet CE 6. Technical Specification: Figuration Size(φ x H) Φ85 x 50mm(H) Typical Output (lm & Lux) 300lm , 350lux@1m CCT (K) 5000K / 3000K CRI 70 Power (W) & Power Factor 6W Angle 30˚ (60˚ available) Installation Saw Hole Ø65~70mm |