| 中文產品名稱及別名： | 4吋LED崁燈 |
| --- | --- |
| 英文產品名稱及別名： | 4 inch LED Downlight |
| 產品型號： | ID-DL412W-AC110(220) |
| 中文產品說明： | vitaLED的LED Downlight具有高流明輸出,照射方向可調整, 簡單而精緻的設計適用於辦公室、會議室和住宅照明,我們提供一般消費者和商業專用型變壓器內置崁燈, 安裝簡便。 無重影,優良配光曲線,無紫外線及紅外線 高亮度, 超越傳統白熾燈 鋁殼散熱佳 壽命超過三萬小時,省電50% 技術規格: 外觀尺吋(φ*H) φ105 x 87mm(H) 輸出亮度 (流明值 及 照度值) 750lm , 550lux@1m 色溫CCT (K) 5500K / 3200K 演色指數(CRI) 75 輸出功率r (W) 12W 發光角度 30。 安裝孔徑 Ø78~85mm |
| 英文產品說明： | vitaLED’s LED downlight features high lumen output and adjustable light direction. The simple and exquisite design is suitable for office, conference room and residential lighting. We offer both driver-inside model for consumer use and driver inside model for commercial installation. 1. No multi-shadow, good light distribution , no UV and IR, 2. High brightness, beyond traditional incandescent light 3. Aluminum housing, excellent heat dissipation 4. Life Span > 30,000hrs., power saving > 50% 5. RoHS compliant and meet CE 6. Technical Specification: Figuration Size(φ*H) φ105 x 87mm(H) Typical Output (lm & Lux) 750lm , 550lux@1m CCT (K) 5500K / 3200K CRI 75 Power (W) & Power Factor 12W Angle 30。 Installation Saw Hole Ø78~85mm |