| 中文產品名稱及別名： | 8吋LED崁燈 |
| --- | --- |
| 英文產品名稱及別名： | 8 inch LED Downlight |
| 產品型號： | ID-DL830W-AC110(220) |
| 中文產品說明： | vitaLED的LED Downlight具有高流明輸出,簡單而精緻的設計適用於辦公室、會議室和住宅照明, 我們可提供一般消費者簡易安裝型和商業專用安裝型之變壓器外置崁燈。 無重影,優良配光曲線,無紫外線及紅外線 高亮度, 超越傳統白熾燈 鋁殼散熱佳 壽命超過三萬小時,省電50% 技術規格: 外觀尺吋(φ x H) Φ220 x 100mm(H) 輸出亮度(流明值) 1500lm / 140lm 色溫CCT (K) 5500K / 3000K 演色指數(CRI) 75 輸出功率r (W) 30W 發光角度 95。 安裝孔徑 Ø200-210mm |
| 英文產品說明： | vitaLED’s LED downlight features high lumen output and adjustable light direction. The simple and exquisite design is suitable for office, conference room and residential lighting. We offer driver-outside model for both consumer use and commercial installation. 1. No multi-shadow, good light distribution , no UV and IR, 2. High brightness, beyond traditional incandescent light 3. Aluminum housing, excellent heat dissipation 4. Life Span > 30,000hrs., power saving > 50% 5. RoHS compliant and meet CE 6. Technical Specification: Figuration Size(φ*H) Φ220 x 100mm(H) Typical Output (lm & Lux) 1500lm / 140lm CCT (K) 5500K / 3000K CRI 75 Power (W) & Power Factor 30W Angle 95。 Installation Saw Hole Ø200-210mm |