| 中文產品名稱及別名： | LED天井燈 |
| --- | --- |
| 英文產品名稱及別名： | LED High Bay Lights |
| 產品型號： | WK-HB100W-AC220 |
| 中文產品說明： |  |
| 英文產品說明： | Our LED High Bays can be installed directly in place of the current fixtures, allowing for instant savings in energy costs by up to 75%. Power Consumption 100 Watts Working Voltage 100-240VAC Luminous Flux 7,000lm (70 lm/W) Certifications CE, RoHS (UL Pending) Beam Spread 80 Degree / 150 Degree / Others Replaces 250 watt Traditional HID High Bay Fixture Color Temperature 6500K (Day Light) Special Features > 30,000 Life Hours, low heat produced |