| 中文產品名稱及別名： | LED燈管(可串接型) |
| --- | --- |
| 英文產品名稱及別名： | LED Light Tube (Connectable) |
| 產品型號： | GL-TB12-DC12/24 |
| 中文產品說明： | vitaLED的LED燈管具有高流明輸出,簡單而精緻的設計適用於辦公室、會議室和住宅照明,我們提供一般消費者和商業安裝型之變壓器外置型可串接式燈管。 無重影,優良配光曲線,無紫外線及紅外線 高亮度, 超越傳統螢光燈管 鋁殼散熱佳 壽命超過三萬小時,省電50% 可360度旋轉調整, 可選購底附強力磁鐵,吸附於鐵架 技術規格: 尺寸 1200m x Ø36mm (1~4ft’ available) 光輸出標準值 (流明 及 勒克斯) 1500lm & 320lux@1m 色溫CCT (K) 6000 / 4000 / 3000 演色性(CRI) 75 耗電 20W 發光角度 及 光罩類型 140 度, (1)透面型, (2)V溝型, (3)擴散型 LED類型及使用顆數 表面黏著型3020/3528 , 240燈 |
| 英文產品說明： | vitaLED’s LED light tube features high lumen output. The simple and exquisite design is suitable for office, conference room and residential lighting. We offer driver-outside model for consumer and commercial connectable installation. 1. No multi-shadow, good light distribution , no UV and IR, 2. High brightness, beyond traditional fluorescent tube 3. Aluminum housing, excellent heat dissipation 4. Life Span > 30,000hrs., power saving > 50% 5. RoHS compliant and CE/FCC safety approval 6. Rotatable hinge with powerful magnets 6. Technical Specification: Size 1200m x Ø36mm (1~4ft’ available) Typical Output (lm & Lux) 1500lm & 320lux@1m CCT (K) 6000 / 4000 / 3000 CRI 75 Power (W) 20W View Angle & Lens Type 140 。with (1) Transprant, (2) V-cut, (3) Diffusion Lens LED Type and Q’ty SMD 3020/3528 x 240pcs |